## Sheet2
Rule# | Anonymization rules | Rule Usage | Applied DICOM tags | Possible scenarios | Dicom File Name | Profile Name | Result
Rules (Functions)
1 | @blank(n) | @blank(0) | (0008,0020) StudyDate | Tag with value | 1.blank.dcm | 1.blank.txt | TRIAD-2581
|  | @blank(@ONE) | (0008,0021) SeriesDate | Tag with value
|  | @blank(@TWO) | (0008,0023) ContentDate | Tag with value
|  | @blank(-5) | (0008,0030) StudyTime | Tag with value
|  | @blank(@NEGATIVE) | (0008,0050) AccessionNumber | Tag with value
|  | @blank(@ZERO) | (0008,0060) Modality | Tag with value
|  | @blank(4) | (0008,0070) Manufacturer | Tag with value
|  | @blank(1) | (0012,0031) ClinicalTrialSiteName | No Tag
2 | @add(“NewValue”) | @add("ACR") | 0018, 0021 | Tag with value | Value.dcm | Value.txt | Working Fine
|  | @add("C") | 0018, 0022 | Tag with value(same value)
|  | @add("ACR") | 0018, 0023 | Empty tag
|  | @add("ACR") | 0018, 0024 | No tag
|  | @add("") | 0018, 0025 | No tag (no value) error handling. Web Portal should not accept this rule without any value.
3 | @contents(ElementName) | @contents(SliceThickness) | 0018, 0050 | Tag with value | Value.dcm | Value.txt | Working Fine
|  | @contents(ElementName) | 0018, 0080 | No tag
|  | @contents(EchoTime) | 0018, 0081 | Empty tag
4 | @contents(ElementName,"regex") @contents(ElementName,"regex","replacement") | @contents(AccessionNumber,[0-5]) | (0008,0050) AccessionNumber | Numerical | REGEX.dcm | REGEX.txt | Working Fine
|  | @contents(Manufacturer,[A-F]) | (0008,0070) Manufacturer | Caps
|  | @contents(InstitutionName,[A-Za-z]) | (0008,0080) InstitutionName | Alpha
|  | @contents(ReferringPhysiciansName,[a-z]) | (0008,0090) ReferringPhysiciansName | only small
|  | @contents(StudyDescription,[A-Za-z]) | (0008,1030) StudyDescription | Alpha
|  | @contents(SeriesDescription,[A-Da-z0-5]) | (0008,103e) SeriesDescription | Alphanumeric
|  | @contents(InstitutionalDepartmentName,[A-F]) | (0008,1040) InstitutionalDepartmentName | only caps
|  | @contents(PerformingPhysiciansName,[A-F]) | (0008,1050) PerformingPhysiciansName | no tag
|  | @contents(NameOfPhysiciansReadingStudy,[A]{2}) | (0008,1060) NameOfPhysiciansReadingStudy | repetition
|  | @contents(ManufacturersModelName,\W) | (0008,1090) ManufacturersModelName | words
5 | @contents(ElementName,"regex","replacement") | @contents(AccessionNumber,[0-5],A) | (0008,0050) AccessionNumber | Numerical | REGEX.dcm | REGEXreplace.txt | Working Fine
|  | @contents(Manufacturer,[A-F],*) | (0008,0070) Manufacturer | Caps
|  | @contents(InstitutionName,[A-Za-z],AABCD) | (0008,0080) InstitutionName | Alpha
|  | @contents(ReferringPhysiciansName,[a-z],1) | (0008,0090) ReferringPhysiciansName | only small
|  | @contents(StudyDescription,[A-Za-z],01) | (0008,1030) StudyDescription | Alpha
|  | @contents(SeriesDescription,[A-Da-z0-5],%) | (0008,103e) SeriesDescription | Alphanumeric
|  | @contents(InstitutionalDepartmentName,[A-F]) | (0008,1040) InstitutionalDepartmentName | only caps
|  | @contents(PerformingPhysiciansName,[A-F]) | (0008,1050) PerformingPhysiciansName | no tag
|  | @contents(NameOfPhysiciansReadingStudy,[A]{2},[0-9]) | (0008,1060) NameOfPhysiciansReadingStudy | repetition
|  | @contents(ManufacturersModelName,\W,9) | (0008,1090) ManufacturersModelName | words
6 | @date(separator) | @date() | 0008, 0012 | Tag with value | date_separator.dcm | date_separator.txt | TRIAD-2582
|  | @date(-) | 0008, 0020 | Tag with value
|  | @date(/) | 0008, 0021 | Tag with value
|  | @date(&) | 0008, 0022 | Tag with value
|  | @date() | 0008, 0023 | Empty tag
|  | @date() | 0010, 0030 | No tag
|  | @date(-) | 0040, 0245 | Empty tag
|  |  | 0008, 0030 | Tag with invalid date format
7 | @empty( ) | @empty() | 0010, 0010 (Patient's Name) | Tag with Non-empty value | 7,17,18,19,24.dcm | 7,17,18,19,24.txt | Working Fine
|  |  | 0010, 0020 (Patient ID) | Tag with empty value
|  |  | 0010, 0020 (Patient ID) | Without tag
8 | @modifydate(ElementName,year,month,day) | @modifydate(this,1,1,1) | 0008, 0012 | Tag with value | Modify_date.dcm | Modify_date.txt | Working Fine
|  | @modifydate(this,0,0,0) | 0008, 0020 | Tag with value
|  | @modifydate(this,*,12,2) | 0008, 0021 | Tag with value
|  | @modifydate(this,12,*,2) | 0008, 0022 | Tag with value
|  | @modifydate(this,1,15,50) | 0008, 0023 | Tag with value(error handling
|  | @modifydate(this,2,5,*) | 0010, 0030 | Empty tag
|  | @modifydate(this,7,*,6) | 0040, 0245 | No tag
|  | @modifydate(this,7,*,6) | 0008, 0031 | Tag with invalid date format
9 | @modifydate(ElementName,year,month,day,DefaultDate) | @modifydate(this,1,1,1,20151210) | 0008, 0012 | Tag with value | Modifydate_default.dcm | Modifydate_default.txt | Working Fine
|  | @modifydate(this,5,9,22,20151) | 0008, 0020 | Tag with value(invalid default date
|  | @modifydate(this,*,12,2,20151210) | 0008, 0021 | Tag with value
|  | @modifydate(this,12,*,2,20151210) | 0008, 0022 | Tag with value
|  | @modifydate(this,1,15,50,20151210) | 0008, 0023 | Tag with value(invalid date
|  | @modifydate(this,2,5,*,20151210) | 0010, 0030 | Empty tag
|  | @modifydate(this,7,*,6,20151210) | 0040, 0245 | No tag
|  | @modifydate(this,7,*,6,20151210) | 0008, 0031 | Tag with invalid date format
10 | @encrypt(ElementName,"key") | @encrypt(this,"TTTTTTT") | (0008,0030) StudyTime |  | 10,11.encrypt.dcm | 10,11.encrypt.txt | TRIAD-2583
|  | @encrypt(this,"TTTTTTTT") | (0008,1030) StudyDescription
|  | @encrypt(this,"TTTTTTTTT") | (0008,103e) SeriesDescription
|  | @encrypt(this,"TTTTTT") | (0008,1090) ManufacturersModelName
11 | @encrypt(ElementName,@ParameterName) | @encrypt(ImageType,@NINE) | (0008,0008) ImageType | Tag with Non-empty values | @encrypt().dcm | @encrypt().txt | TRIAD-2584
|  | @encrypt(StudyDate,@SEVEN) | (0008,0020) StudyDate | Tag with Non-empty values
|  | @encrypt(this,@EIGHT) | (0008,0070) Manufacturer | Tag with Non-empty values
|  | @encrypt(this,@TEN) | (0008,0080) InstitutionName | Tag with Non-empty values
|  | @encrypt(this,@SIX) | (0008,1010) StationName | Value
12 | @hash(ElementName) | @hash(SpecificCharacterSet) | (0008,0005) SpecificCharacterSet | tag value | Hash.dcm | Hash.txt | Working Fine
|  | @hash(ImageType) | (0008,0008) ImageType | empty
|  | @hash(InstanceCreationDate) | (0008,0012) InstanceCreationDate | non exists
|  | @hash(StudyDate) | (0008,0020) StudyDate | numeric
|  | @hash(AcquisitionDate) | (0008,0022) AcquisitionDate | same value
|  | @hash(Manufacturer) | (0008,0070) Manufacturer | special chat
13 | @hashuid(root,ElementName) | @hashuid(root,InstitutionName) | 0008,0080) InstitutionName | empty
|  | @hashuid(1.2,ReferringPhysiciansName) | (0008,0090) ReferringPhysiciansName | non exists
|  | @hashuid(1.2.,StationName) | (0008,1010) StationName | period
|  | @hashuid(root.,StudyDescription) | (0008,1030) StudyDescription | Normal value
|  | @hashuid(@UIDROOT,ManufacturersModelName) | (0008,1090) ManufacturersModelName | Pram
|  | @hashuid(1.2,StudyInstanceUid) | (0020,000d) StudyInstanceUid | UID
14 | @hashuid(root,ExtraParam,ElementName) | @hashuid(1.2,@UIDROOT,SeriesDescription) | (0008,103e) SeriesDescription | empty
|  | @hashuid(1.2,@UIDROOT,InstitutionalDepartmentName) | (0008,1040) InstitutionalDepartmentName | non exists
|  | @hashuid(1.2.,@UIDROOT,PatientsName) | (0010,0010) PatientsName | period
|  | @hashuid(root,@UIDROOT,PatientId) | (0010,0020) PatientId | without period
|  | @hashuid(root,@SiteNo,ContrastBolusAgent) | (0018,0010) ContrastBolusAgent
|  | @hashuid(1.2,UIDROOT,SeriesInstanceUid) | (0020,000e) SeriesInstanceUid | UID
15 | @incrementdate(ElementName,incInDays) | @incrementdate(this,1) | 0008, 0012 | Tag with value | Increment_date.dcm | Increment_date.dcm | TRIAD-2585
|  | @incrementdate(this,0) | 0008, 0020 | Tag with value
|  | @incrementdate(this,365) | 0008, 0021 | Tag with value
|  | @incrementdate(this,-1) | 0008, 0022 | Tag with value
|  | @incrementdate(this,-10) | 0008, 0023 | Tag with value
|  | @incrementdate(this,2) | 0010, 0030 | Empty tag
|  | @incrementdate(this,5) | 0040, 0245 | No tag
|  | @incrementdate(this,10) | 0008, 0031 | Tag with invalid date format
16 | @keep() | @keep() | 0018, 1190 (Focal Spot(s)) | Tag with Non-empty value | 7,17,18,19,24.dcm | 7,17,18,19,24.dcm | Working Fine
|  |  | 0018, 1210 (Convolution Kernel) | Tag with empty value
|  |  | 0018, 5100 (Patient Position) | Without tag
17 | @remove() | @remove() | 0010, 1010 (Patient's Age) | Tag with Non-empty value |  |  | Working Fine
|  |  | 0012, 0010 (Clinical Trial Sponsor Name) | Tag with empty value
|  |  | 0012, 0020 (Clinical Trial Protocol ID) | Without tag
18 | @time(separator) | @time( ) | 0008, 0013 (Instance Creation Time) | Tag with Non-Empty value |  |  | TRIAD-2586
|  | @time(*) | 0008, 0030 (Study Time) | Tag with Non-Empty value
|  | @time(a) | 0008, 0031 (Series Time) | Tag with Non-Empty value
|  | @time(:) | 0008, 0032 (Acquisition Time) | Tag with Non-Empty value
|  | @time(1) | 0008, 0033 (Content Time) | Tag with Non-Empty value
|  | @time(t) | 0008, 0033 (Content Time) | Tag with empty value
|  | @time(0) | 0008, 0033 (Content Time) | Without tag
19 | @truncate(ElementName,n) | @truncate(Manufacturer,1) | 0008, 0070 | Tag with Value | Value.dcm | Value.dcm | Working Fine
|  | @truncate(InstitutionName,0) | 0008, 0080 | Tag with Value(Zero)
|  | @truncate(StationName,9) | 0008, 1010 | Tag with Value(9> value)
|  | @truncate(this,-2) | 0008, 1030 | Tag with Value(negative value)
|  | @truncate(CodingSchemeDesignator,-11) | 0008, 0090 | Tag with Value(negative >value)
|  | @truncate(CdeMeaning,2) | 0008, 0033 | Empty tag
|  | @truncate(OperatorsName,0) | 0008, 1070 | Empty tag (Zero)
|  | @truncate(ElementName,2) | 0008, 1090 | No tag
|  | @truncate(ElementName,0) | 0010, 1010 | No tag(Zero)
|  | @truncate(ScanningSequence,&) | 0018, 0020 | Error handling(special character)
20 | @param() | @param(@SITEID) | (0008,0020) StudyDate | Tag with Value | 20.param.dcm | 20.param.txt | TRIAD-2596
|  | @param(@DATEINC) | (0008,0022) AcquisitionDate | Tag with Value
|  | @param(@ProjectName) | (0008,0023) ContentDate | Tag with Value
|  | @param(@SITENAME) | (0008,0030) StudyTime | Tag with Value
|  | @param(@TimePointDescription) | (0008,0032) AcquisitionTime | Tag with Value
|  | @param(@UIDROOT) | (0008,0050) AccessionNumber | Tag with Value
|  | @param(@KEY) | (0008,0060) Modality | Tag with Value
|  | @param(@SUFFIX) | (0008,0070) Manufacturer | Tag with Value
|  | @param(@TRIAD) | (0008,0090) ReferringPhysiciansName | Tag with Value
|  | @param(@PREFIX) | (0008,1030) StudyDescription | Tag with Value
|  | @param(@TrialNo) | (0010,0010) PatientsName | Tag with Value
|  | @param(@GroupName) | (0010,0020) PatientId | Tag with Value
|  | @param(@GroupNo) | (0010,0030) PatientsBirthDate | Tag with Value
|  | @param(@SiteNo) | (0010,0040) PatientsSex | Tag with Value
|  | @param(@CaseNo) | (0010,1030) PatientsWeight | Tag with Value
|  | @param(@TrialName) | (0018,1020) SoftwareVersions | Tag with Value
|  | @param(@SiteName) | (0018,1100) ReconstructionDiameter | Tag with Value
|  | @param(@TimePointID) | (0018,1200) DateOfLastCalibration | Tag with Value
|  | @param(@TimePointDescription) | (0019,0010) Privatetag | Tag with Value
|  | @param(@SPONSOR) | (0020,0010) StudyId | Tag with Value
|  | @param("QATEAM") | (0020, 0011) Series Number | Tag with Value
|  | @param(@CaseNo^@SUFFIX) | (0020, 0013) Instance Number | Tag with Value
|  | @param(@CaseNo^@SiteNo)^@param(@TrialNo) | (0020, 0032) Image Position Patient | Tag with Value
|  | @param(@SubmissionType) | (0032,1033) RequestingService | returning empty value
|  | @param(QATEAM) | (0030, 1032) Requesting Physician | Tag with Value
21 | @lookup(this,ptid) | Need to have some lookup tables in the database to map values in the profile. |  |  |  |  | No data to test
22 | @lookup(ElementName,KeyType,action) | @lookup(PatientId,ptid,remove) | (0010,0020) PatientId | Only Ptid is supported | lookup.dcm | lookup.dcm | TRIAD-2587
23 | @process() | @process() | 0008, 0060 (Modality) | Tag with Non-empty value | 7,17,18,19,24.dcm | 7,17,18,19,24.txt | working fine
|  |  | 0008, 0070 (Manufacturer) | Tag with empty value
|  |  | 0008, 1120 (ReferencedPatientSequence) | Without tag
24 | @hashname(ElementName,maxCharsOutput) | @hashname(SliceThickness,2) | (0018,0050) SliceThickness | Value | Hash.dcm | Hash.txt | Working Fine
|  | @hashname(Kvp,2) | (0018,0060) Kvp | Same lenght
|  | @hashname(SpacingBetweenSlices,5) | (0018,0088) SpacingBetweenSlices | numeric
|  | @hashname(DataCollectionDiameter,0) | (0018,0090) DataCollectionDiameter | 0 Max char
|  | @hashname(ProtocolName,10) | (0018,1030) ProtocolName | two words
25 | @hashname(ElementName,maxCharsOutput,maxWordsInput) | @hashname(PatientName,10,1) | (0010,0010) PatientsName | 1 character hashing | Hashnamemax.dcm | Hashnamemax.dcm | TRIAD-2588
|  | @hashname(PatientID,10,2) | (0010,0020) PatientId | 2 character hashing
|  | @hashname(PatientBirthDate,2,2) | (0010,0030) PatientsBirthDate | 2 char hashing
|  | @hashname(PatientAge,2,3) | (0010,1010) PatientsAge | 3 char hashing
26 | @hash(ElementName,maxCharsOutput) | @hash(ReconstructionDiameter,2) | (0018,1100) ReconstructionDiameter | Tag value | Hash.dcm | Hash.txt | Working Fine
|  | @hash(GantryDetectorTilt,5) | (0018,1120) GantryDetectorTilt | empty
|  | @hash(TableHeight,2) | (0018,1130) TableHeight | non exists
|  | @hash(XRayTubeCurrent,0) | (0018,1151) XRayTubeCurrent | 0 value
|  | @hash(Exposure,2) | (0018,1152) Exposure | same value
27 | @hashptid(siteID,ElementName) | @hashptid(2,FilterType) | (0018,1160) FilterType | Value
|  | @hashptid(3,ConvolutionKernel) | (0018,1210) ConvolutionKernel | empty
|  | @hashptid(2,PatientPosition) | (0018,5100) PatientPosition | non exists
|  | @hashptid(2,StudyId) | 0020,0010) StudyId | With param
|  | @hashptid(@UIDROOT,SeriesNumber) | (0020,0011) SeriesNumber | same value
28 | @hashptid(siteID,ElementName,maxCharsOutput) | @hashptid(2,ImageOrientationPatient,2) | (0020,0037) ImageOrientationPatient | Value
|  | @hashptid(2,SliceLocation,2) | (0020,1041) SliceLocation | empty
|  | @hashptid(2,ImageComments,2) | (0020,4000) ImageComments | non exists
|  | @hashptid(@UIDROOT,SamplesPerPixel,2) | (0028,0002) SamplesPerPixel | with param
29 | @initials(ElementName) | @initials(Manufacturer) | (0008,0070) Manufacturer | Name | Initials.dcm | Initials.txt | Working Fine
|  | @initials(InstitutionName) | (0008,0080) InstitutionName
|  | @initials(InstitutionAddress) | (0008,0081) InstitutionAddress | empty
|  | @initials(StudyDescription) | (0008,1030) StudyDescription
|  | @initials(NameOfPhysiciansReadingStudy) | (0008,1060) NameOfPhysiciansReadingStudy | No tag
|  | @initials(PatientName) | (0010,0010) PatientsName | Ayy^Bay
|  | @initials(BodyPartExamined) | (0018,0015) BodyPartExamined | ads^fgd^fy
|  | @initials(AcquisitionTerminationCondition) | (0018,0071) AcquisitionTerminationCondition | AAA^DD^FF
|  | @initials(DeviceSerialNumber) | (0018,1000) DeviceSerialNumber | 145^45^54
|  | @initials(SoftwareVersions) | (0018,1020) SoftwareVersions | $$^##^@@
30 | @always() | @always(){This is Non-existing tag} | (0008,0040) DataSetTypeRetired | Non-existing Dicom tag | always.dcm | always.txt | Working Fine
|  | @always()"QA_Team" | (0008,0050) AccessionNumber | Tag with empty value
|  | @always()@date() | (0008,0060) Modality | Using Functions
|  | @always()@TRUE | (0008,0070) Manufacturer | Using Parameters
|  | @always()@time()@date() | (0008,0080) InstitutionName | Using multiple functions
|  | @always(){String using braces} | (0008,0081) InstitutionAddress | String in braces
|  | @always()"This"{is}"it" | (0008,0090) ReferringPhysiciansName | String in braces and Double quotes
|  | @always(){} | (0008,103e) SeriesDescription | Tag with Non-empty value
|  | @always()1234 | (0010,0020) PatientId | Using numericals
31 | @require() | @require() | (0010,0020) PatientId | Tag with Non-empty value | 31-require.dcm | 31-require.txt | Working Fine
|  | @require() | (0010,0030) PatientsBirthDate | Tag with empty value
|  | @require() | (0010,0032) PatientsBirthTime | Without tag
32 | @require(ElementName) | @require(SeriesNumber) | (0004,1430) DirectoryRecordType | Tag with Non-empty value |  |  | TRIAD-2597
|  | @require(Modality) | (0008,0005) SpecificCharacterSet | Tag with empty value
|  | @require("PatientsName") | (0008,1010) StationName | Without tag
|  | @require(@FIVE) | (0008,1030) StudyDescription | Without tag
|  | @require("@3") | (0008,0054) RetrieveAeTitle | Without tag
|  | @require(CT) | (0008,0056) InstanceAvailability | Without tag
|  | @require(@ONE) | (0008,0080) InstitutionName | Without tag
33 | @require(ElementName,"default value") | @require(RequestingPhysician,"TRIAD") | (0008,0020) StudyDate | Tag with Non-empty value
|  | @require(PatientsSex,TRIAD) | (0008,0021) SeriesDate | Tag with Non-empty value
|  | @require(InstanceNumber,"QATEAM") | (0008,0022) AcquisitionDate | Tag with Non-empty value
|  | @require(RequestingPhysician,@3) | (0008,0023) ContentDate | Tag with Non-empty value
|  | @require(CT,@Four) | (0008,0031) SeriesTime | Without tag
|  | @require(InstanceNumber,SeriesDate) | (0008,0012) InstanceCreationDate | Without tag
|  | @require(Modality,@Five) | (0008,002a) AcquisitionDatetime | Without tag
34 | @round(ElementName,groupsize) | @round(this,10) | 0028, 0100 | Tag with value | Round.dcm | Round.txt | TRIAD-2589
|  | @round(this,10) | 0028, 0102 | Tag with value
|  | @round(this,10) | 0028, 0103 | Tag with value
|  | @round(this,10) | 0028, 0101 | Tag with value
|  | @round(this,10) | 0028, 0106 | Tag with value
|  | @round(this,10) | 0028, 0107 | Tag with value
|  | @round(this,10) | 0028, 1050 | Empty tag
|  | @round(this,10) | 0028, 1051 | No tag
|  | @round(this,-10) | 0028, 1052 | with tag (negative
|  | @round(this,100) | 0028, 2110 | With tag
|  | @round(this,100) | 0028, 2112 | With tag |  |  |  | @append()
35 | @value(ElementName) | @value(NumberOfAverages) | 0018, 0083 | Tag with value | Value.dcm | Value.txt | Working Fine | @append()BB
|  | @value(ElementName) | 0018, 0084 | No tag |  |  |  | @append()@TRIAD
|  | @value(ImagedNucleus) | 0018, 0085 | Empty tag
36 | @value(ElementName,"default value") | @value(TrasmitCoilName,"ACR") | 0018, 1251 | Tag with value | Value.dcm | Value.txt | TRIAD-2591
|  | @value(VariableFlipAngleFlag,"ACR") | 0018, 1315 | Tag with value(actual>Rule value)
|  | @value(AcquitionMatrix,"ACR") | 0018, 1310 | Empty tag
|  | @value(ElementName,"ACR") | 0018, 1312 | No tag
37 | @append(){script} | @append() | (0008,0020) StudyDate | Tag with value | 37.append.dcm | 37.append.txt | Working Fine
|  | @append()BB | (0008,0021) SeriesDate | Tag with value
|  | @append()@TRIAD | (0008,0022) AcquisitionDate | Tag with value
|  | @append()@TRI | (0008,0031) SeriesTime | Tag with value
|  | @append(){AA//BB//CC} | (0008,0050) AccessionNumber | Tag with value
|  | @append(){TRIAD QA TEAM} | (0008,0060) Modality | Tag with value
|  | @append()AA | (0008,0070) Manufacturer | Tag with value
|  | @append(){AA\\BB\\CC} | (0008,0080) InstitutionName | Empty tag
|  | @append()TRIADQATEAM | (0008,0081) InstitutionAddress | Tag with value |  |  |  | @append(){"TRIAD"}
|  | @append(){} | (0008,1030) StudyDescription | Tag with value |  |  |  | @append(){"@TRI"}
|  | @append(){"TRIAD"} | (0010,0010) PatientsName | Tag with value |  |  |  | @append(){1\\2\\3}
|  | @append(){"@TRI"} | (0010,0020) PatientId | Tag with value
|  | @append(){1\\2\\3} | (0012,0063) DeIdentificationMethod | Tag with value
38 | @integer(ElementName,KeyType,width) | @integer(PatientName,ptaddress,4) | 0010,0010) PatientsName | ptaddress | Integer.dcm | Interger.txt | TRIAD-2592
|  | C-@integer(PatientID,ptid,0) | (0010,0020) PatientId | valid key type
|  | @integer(PatientID,ptaddress,4) | (0010,1040) PatientsAddress | For other tags 0 not returning
39 | @privateattribute() | @privateattribute("My",SL) | (0027,0010) Privatetag | Value | Private_new.dcm | Private_new.txt | TRIAD-2593
|  | @privateattribute("My",SL) | (0027,1010) Privatetag | Tag with value
|  | @privateattribute("My",SL) | (0027,101c) Privatetag | Empty tag
|  | @privateattribute("My",SL) | (0027,101e) Privatetag | No tag
|  | @privateattribute("My",SL) | (0027,101f) Privatetag | Tag with value
|  | @privateattribute("My",SL) | (0027,1020) Privatetag | Tag with value
|  | @privateattribute("My",SL) | (0027,1035) Privatetag | Tag with value
|  | @privateattribute("My",SL) | (0027,1042) Privatetag | Tag with value
40 | DeIdentificationMethodCodeSeq Element | RESET/113107/113108/113109/113111 | (0012,0064) DeIdentificationMethodCodeSeq | Without tag | 40.DeIdentificationMethodCodeSeq Element.dcm | 40.DeIdentificationMethodCodeSeq Element.txt | Working Fine
|  | RESET/22222/11111 | (0012,0064) DeIdentificationMethodCodeSeq | Without tag
|  | RESET/113101/113103/113105/113107/113108/113109/113111/11111/2222 | (0012,0064) DeIdentificationMethodCodeSeq | Without tag
|  | /113107/113108/113109/113111/11111/2222 | (0012,0064) DeIdentificationMethodCodeSeq | Without tag
Conditional Functions
41 | @if(ElementName,exists) | @if(@ONE,exists){C}{D} | (0008,0005) SpecificCharacterSet | Non existing tag with parameter | 41-45.if.dcm | 41-45.if.txt | TRIAD-2594
|  | @if(@EMPTY,exists){Non-Empty} | (0008,0012) InstanceCreationDate | Using only one clause
|  | @if(this,exists){Yes}{No} | (0008,0020) StudyDate | Tag with non empty value
|  | @if(this,exists)){Yes1}{No1}{Yes2}{No2} | (0008,0021) SeriesDate | Using wrong syntax
|  | @if(this,exists){True}{False} | (0010,0020) PatientId | Non existing tag using ElementName
|  | @if(this,exists){True}{False} | (0008,0050) AccessionNumber | Tag with empty value
42 | @if(ElementName,isblank) | @if(this,isblank)){True}{False} | (0008,0060) Modality | Using wrong syntax[ two braces used]
|  | @if(this,isblank){True}{False} | (0008,0081) InstitutionAddress | Tag with empty value
|  | @if(this,isblank){True}{False} | (0010,0040) PatientsSex | Non existing tag using ElementName
|  | @if(this,isblank){True} | (0008,1050) PerformingPhysiciansName | Using only one clause
|  | @if(@6,exists){Yes}{No} | (0008,0030) StudyTime | Using parameter
43 | @if(ElementName,equals,"string") | @if(this,equals,"1"){True}{False} | (0008,0031) SeriesTime | Tag with non empty value
|  | @if(this,equals,""){Yes}{No} | (0008,0090) ReferringPhysiciansName | Tag with empty value
|  | @if(this,equals,"SIEmens"){True}{False} | (0008,0070) Manufacturer | Using case insensitive
|  | @if(this,equals,""){True}{False} | (0010,0030) PatientsBirthDate | Using empty string
|  | @if(this,equals," "){True}{False} | (0010,1020) PatientsSize | Using string with space
44 | @if(ElementName,contains,"string") | @if(this,contains,"1"){Yes}{No} | (0008,0032) AcquisitionTime | Tag with non empty value
|  | @if(this,contains,""){Yes}{No} | (0008,1010) StationName | Tag with empty value
|  | @if(this,contains,""){Yes}{No} | (0010,1030) PatientsWeight | Non existing tag using ElementName
|  | @if(this,contains,"WM"){Yes}{No} | (0008,1070) OperatorsName | Tag with non empty value
45 | @if(ElementName,matches,"regex") | @if(this,matches,[a-z]){True}{False} | (0010,0010) PatientsName | Tag with non empty value
|  | @if(this,matches,"[a-z][0-9]"){True}{False} | (0008,103e) SeriesDescription | Tag with aplhanumericals
|  | @if(this,matches,[a-z]){Yes}{No} | (0008,1030) StudyDescription | Tag with empty value
|  | @if(this,matches,"[a-z]"){Yes}{No} | (0010,1040) PatientsAddress | Using Non existing tag
|  | @if(this,matches,"[a-z]"){Yes}{No | (0010,1005) PatientsBirthName | Using wrong syntax
46 | @skip() | @if(this,contains,"abcd"){@skip()}{False} | Any Tag | Anonymization fails when user provides @skip() rule in the profile |  |  | TRIAD-2595
47 | @select() {root clause} {item clause} | @select(){QA}{Under SQ} | (0008,0070) Manufacturer | Tag with value | Select.dcm | Select.txt | Working fine
|  | @select(){QA}{Under SQ} | (0008,0090) ReferringPhysiciansName | Tag with value
|  | @select(){QA}{Under SQ} | (0008,0100) CodeValue | Tag with value
|  | @select(){QA}{Under SQ} | (0008,0102) CodingSchemeDesignator | Tag with value
|  | @select(){QA}{Under SQ} | (0008,0104) CodeMeaning | Tag with value
|  | @select(){QA} {Under SQ} | (0008,1010) StationName | Tag with value
|  | @select(){QA}{Under SQ} | (0008,1032) ProcedureCodeSequence | SQ tag
|  | @select(){QA}{Under SQ} | (0008,1110) ReferencedStudySequence | SQ tag
|  | @select(){QA}{Under SQ} | (0008,1140) ReferencedImageSequence | SQ tag
48 | @quarantine() | @if(Modality,contains,"CT"){@quarantine()}{EmptyPatName} | (0008,0060) Modality | success | Quarantine folder | Quarantine.txt | Working fine
|  | @if(Manufacturer,contains,"SIEMENS"){@quarantine()}{EmptyPatName} | (0008,0070) Manufacturer | fail
Global Actions
49 | @removeprivategroups()
50 | @removeuncheckedelements()
51 | @removecurves()
52 | @removeoverlays()
53 | Keep Group 18
54 | Keep Group 20
55 | Keep Group 28